## Slide 1: Development of an Energy Management System for demand response programs within smart DC houses.
Herr Abhik Ghosh

## Slide 2: Contents
Motivation
AC and DC house system
Energy management system
Case study
Results
Conclusion

## Slide 3: 1. Motivation
European “energy road map 2050”
Distributed renewable energy sources.
25% of energy in household sector.
Heat storage, heat pump, battery storage, PV and EV.
House system

## Slide 4: 2. AC and DC house system
AC house
DC house

## Slide 5: 3. Energy management system
House consumption
Heat pump

## Slide 6: House consumption loads without BESS
House consumption power
Power difference

## Slide 7: House consumption loads with BESS
Self consumption (SC)
Power difference

## Slide 8: 4. Case study
Winter days
Summer days

## Slide 9: Off grid
Winter days
Summer days

## Slide 10: Price signal based Demand response (DR)
Price function
Chart: Variable tariff
| 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
Cents/kWh | 20 | 20 | 20 | 20 | 20 | 20 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 30 | 30 | 30 | 20 | 20 | 20 | 20
 | 0
Reference | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21
Chart: Price function
| 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1

## Slide 11: Price signal based DR
Winter days
Summer days

## Slide 12: Battery energy storage system
Off grid
Price signal based DR

## Slide 13: One year house response
Off grid
Price signal based DR

## Slide 14: Power difference
Off grid
Price signal based DR

## Slide 15: Economic analysis
Off grid
AC house
Installation cost : .
Net present value :
DC house
Installation cost : .
less expenditure in DC house.
Huge Initial expenditure.
100 % Reliable.
SC : 90 %
Price signal based DR
AC house
Net present value : 9,200
Annuity : 600
Levelised cost of energy: 9 cent/kWh
DC house
Net present value : 10,700
Annuity : 700
Levelised cost of energy: 7.5 cent/kWh
SC : 80 %
Saving using electricity bill due to demand response

## Slide 16: 6. Conclusion
Saving in consumption .
Sizing reduction
PV array by 24 % .
Battery by .
Converter by .
less installation cost in DC house.
Optimize SC
Contribution in grid stability

## Slide 17: Thanks for your Attention